STEPS INVOLVED IN

TESTING HOSE

Step #1:	Lay line (300’) and record ID numbers

Step #2:	Connect truck to water supply / Hose tester

Step #3:	Attach nozzle (mark hose couplings)

Step #4:	Fill lines and get normal water flow

Step #5:	Leave nozzles open and raise to 100 psi nozzle pressure

(50 psi for solid streams)

Step #6:	Reduce pressure and close nozzles; check couplings for looseness or leaks

Step #7:	Raise pressure to 300 psi for attack hose and 200 psi for LDH and hold for 5 minutes

Step #8:	Reduce pressure and drain lines

Step #9:	Check for coupling slips.  Tag bad sections

HOSE RECORD

| SIZE |  | IDENTIFICATION NO. OF LENGTH |  |  |  |  | FIRE DEPARTMENT HOSE RECORD |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KIND |  | BRAND |  |  | COST PER FOOT DATE OF PURCHASE |  |  |  |  |  |
| MANUFACTURER |  |  |  | VENDOR |  |  |  | GUARANTEE |  |  |
| COUPLINGS: BOND ___________________ TYPE: ___________________ |  |  |  |  |  |  |  |  |  |  |
| DATE IN SERVICE | APPARATUS NO. |  | LENGTH TESTED DATE PRESSURE OK OR FAILURE |  |  | OUT OF SERVICE DATE REASON |  |  | CONDITION OF COUPLINGS | REMARKS |