## Sheet1
NORTH CAROLINA
MODULAR PLANS REVIEW CHECKLIST
PAGE 1 of 3 revised June 2018
Manufacturer
Model number/name
3rd Party
Review Date
Reviewer
Plan Sheet Page # and NOTES
QC MANUAL (current and complete)
APPENDIX B (required and attached)
PLAN SHEETS
Each plan sheet third-party stamped with approver's name
Each plan sheets is numbered and/or indexed
GENERAL (cover sheet)
Code References
Statement regarding connection to public utilities
Statement regarding bathrooms if not included
Construction type
Occupancy classification
Fire resistance ratings (if required)
Floor live load
Roof live load
Design wind velocity
Seismic information (commercial projects)
Thermal zones
Notice to inspections department regarding items to be site inspected
FLOOR PLANS
Interior and exterior wall layouts
Door and window schedule
Light and Ventilation requirements
Attic access (size and location)
Non-prescriptive headers
Safety glazing requirements
Fire rating of Exterior walls (if applicable)
EXTERIOR ELEVATIONS
Exterior materials
Attic ventilation requirements
PLUMBING
Plan
All fixtures furnished by mfg. shown on plans
Materials (water supply & distribution, DWV, storm drainage)
Supply and waste risers, including DWV system (generic) beneath the building.
Water heater (type and capacity)
NORTH CAROLINA
MODULAR PLANS REVIEW CHECKLIST
PAGE 2 of 3 revised June 2018
Plan Sheet Page # and NOTES
MECHANICAL
Design calculations
Installed unit capacity
Supply and returns (locations and sizes)
Duct sizes
Specifications (units, ducts)
All appliances furnished by mfg. shown on plans
ELECTRICAL
Plan
Location of all electrical boxes
Electrical panel location
Note regarding main disconnect (if applicable)
Exterior lighting and receptacles
Ground level receptacles (if applicable)
Smoke detector location(s)
Electrical load calculations
Electrical panel layout (breaker and wire sizes, circuit schedule)
Panel and service entrance sizes
All fixtures furnished by mfg. shown on plans
ACCESSIBILITY
(for other than 1 & 2 family dwellings)
Entrances and means of egress
Doors, doorways, and door hardware
Stairs and handrails
Toilet rooms, plumbing fixtures, grab bars, etc
Bathrooms and shower rooms
Occupancy specific requirements
Multi-family dwellings: Type A and B units
FLOOR X-SECTION
Joists and beam sizes and spacing
Materials species and grade
Sheathing, decking, and concrete as applicable
Fastening instructions
Insulation
Details as required for clarification
WALL X-SECTION
Stud and column sizes and spacing
Materials species and grade
Sheathing and bracing
Headers and lintels
Finishes
Fastening instructions
Insulation
Details as required for clarification
NORTH CAROLINA
MODULAR PLANS REVIEW CHECKLIST
PAGE 3 of 3 revised June 2018
Plan Sheet Page # and NOTES
CEILING / ROOF X-SECTION
Truss, rafter, and beam spacing
Lumber species and grade
Sheathing and decking
Finishes
Fastening instructions
Insulation
Details including NC sealed truss designs or manual reference
FOUNDATION PLAN
Footings, pier, and curtain wall locations and specifications
X-sections with dimensions
Anchorage - sill plate to piers and curtain wall
Anchorage - building to sill plate
Anchorage - tie downs (lateral and longitudinal)
Soil bearing capacity
Minimum concrete compressive strength
Mortar type
Ventilation requirements (with and without vapor barrier)
Crawl space access requirements
ENERGY COMPLIANCE
Demonstrated compliance
SET-UP INSTRUCTIONS
Floor and ceiling connections
Marriage wall connections
Roof set-up and connection
Plumbing connections
Mechanical connections
Electrical connections
Fire stopping
Air infiltration elimination
Notice to inspections department attachment if set-up instructions are by attachment
ITEMS NOT INSPECTED IN PLANT
List of items not inspected by 3rd. Party
Notice to inspections department